## Sheet1
Asset ID | Scientific Department | Scientific Equipment Name | Manufacturer | Model | Serial No | PPM Done | Installation Date | Status
ASD-PHC-001 | Maternal & Child Health (MCH) | Blood Pressure Monitor | Hillrom | N/A | 23020113230 | 2026-10-01
ASD-PHC-002 | Maternal & Child Health (MCH) | Baby Scale | Health O Meter | 500 KL | N/A | 2026-10-01
ASD-PHC-003 | Maternal & Child Health (MCH) | Infant Scale | UMF Medical | 5900 | 151271-0010 | 2026-10-01
ASD-PHC-004 | General Practice Clinic | Otoscope | Welch Allyn | GS 777 | N/A | 2026-10-01
ASD-PHC-005 | CSSD | Autoclave | Fomos | Lina G2 | FP22L2312115 | 2026-10-01
ASD-PHC-006 | Emergency & Observation | Defibrillator | Zoll | M series Als | AF14A034592 | 2026-10-01
ASD-PHC-007 | Emergency & Observation | Nebulizer | Philips | Innospire | 1033434360 | 2026-10-01
ASD-PHC-008 | General Practice Clinic | Column Scale | Seca | 703 | N/A | 2026-10-01
ASD-PHC-009 | General Practice Clinic | Vital Signs Monitor | Welch Allyn | Connex | N/A | 2026-10-01
ASD-PHC-010 | General Practice Clinic | Thermometer | Welch Allyn | SureTemp Plus | N/A | 2026-10-01
ASD-PHC-011 | General Practice Clinic | Examination Lamp | KLS Martin | Platz | 1118406010 | 2026-10-01
ASD-PHC-012 | Dental Clinic | Dental Unit | Sirona | Intego | N/A | 2026-10-01
ASD-PHC-013 | Maternal & Child Health (MCH) | Fetal Doppler | Edan | SD3 | 9211528 | 2026-10-01
ASD-PHC-014 | Maternal & Child Health (MCH) | Column Scale | Seca | 703 | 10000000824578 | 2026-10-01
ASD-PHC-015 | Emergency & Observation | Electrocardiograph | Mortara | ELI 280 | N/A | 2026-10-01
ASD-PHC-016 | Dental Clinic | Amalgamator | ATS | TCA | 231027 | 2026-10-01
ASD-PHC-017 | Dental Clinic | Dental X-Ray | Fona | XDC | 3410DT0298 | 2026-10-01
ASD-PHC-018 | Laboratory | Microscope | Labomed | N/A | 70114464 | 2026-10-01
ASD-PHC-019 | Laboratory | Vortex Mixer | Snijders | 34201 | S0199-271 | 2026-10-01
ASD-PHC-020 | Laboratory | Microscope | Labomed | N/A | 060-2275 | 2026-10-01
ASD-PHC-021 | Laboratory | Centrifuge | Heraeus | Labofuge 200 | N/A | 2026-10-01
ASD-PHC-022 | Laboratory | Chemistry Analyzer | ABAXIS | Piccolo | N/A | 2026-10-01
ASD-PHC-023 | Laboratory | Chemistry Analyzer | Abbott | AFINION 2 | N/A | 2026-10-01
BLM-PHC-001 | Emergency & Observation | Defibrillator | Save One | Svo | 800005072400060 | 2025-11-01
BLM-PHC-002 | Medical Laboratory | Centrifuge | Hermle | Z 206 | 60130388 | 2025-11-01
BLM-PHC-003 | Medical Laboratory | Clinical Chemistry Analyzer | Abbott | Afinion 2 | N/A | 2025-11-01
BLM-PHC-004 | General Practice Clinic | Otoscope | Welch Allyn | GS 777 | N/A | 2025-11-01
BLM-PHC-005 | General Practice Clinic | Examination Lamp | L.I.D | Bro | N/A | 2025-11-01
BLM-PHC-006 | Maternal & Child Health (MCH) | Weight Scale | Seca | N/A | N/A | 2025-11-01
BLM-PHC-007 | General Practice Clinic | Vital Signs Monitor | Huntleigh | Smartsigns Compact 300 | 781B20250220 | 2025-11-01
BLM-PHC-008 | Maternal & Child Health (MCH) | Weight Scale | Seca | 336 | N/A | 2025-11-01
BLM-PHC-009 | Maternal & Child Health (MCH) | Baby Scale | ADE | N/A | N/A | 2025-11-01
BLM-PHC-010 | General Practice Clinic | Weight Scale | Detecto | Solo | 0329E180183201 | 2025-11-01
BLM-PHC-011 | Emergency & Observation | Sphygmomanometer | Welch Allyn | 600 | 122335678 | 2025-11-01
BLM-PHC-012 | Maternal & Child Health (MCH) | Weight Scale | Seca | 336 | 5 | 2025-11-01
BLM-PHC-013 | General Practice Clinic | Weight Scale | Seca | N/A | 5700155133445 | 2025-11-01
HAQ-PHC-001 | Sterilization Department | Autoclave | Mammoth | B23 | ZHB23C1873 | 2025-12-01
HAQ-PHC-002 | Sterilization Department | Water Distiller | Euronda | Aquadist | EDP201531 | 2025-12-01
HAQ-PHC-003 | Sterilization Department | Autoclave | Euronda | Pro E10 | N/A | 2025-12-01
HAQ-PHC-004 | Medical Laboratory | Vortex Mixer | LW Scientific | LW100 | N/A | 2025-12-01
HAQ-PHC-005 | Medical Laboratory | Binocular Microscope | Micros | Austria | 793 | 2025-12-01
HAQ-PHC-006 | Medical Laboratory | HbA1c Analyzer | Roche | Cobas b101 | 260041349 | 2025-12-01
HAQ-PHC-007 | Medical Laboratory | Chemistry Analyzer | Abbott | Afinion 2 | AF20038181 | 2025-12-01
HAQ-PHC-008 | Medical Laboratory | Centrifuge | Heraeus | Labofuge 200 | 40338475 | 2025-12-01
HAQ-PHC-009 | General Practice Clinic | Electronic Thermometer | Welch Allyn | SureTemp | 15070070 | 2025-12-01
HAQ-PHC-010 | General Practice Clinic | X-Ray Film Viewer | Medical Premier | N/A | N/A | 2025-12-01
HAQ-PHC-011 | General Practice Clinic | Medical Scale | ACTEST | TCS-200-RT | N/A | 2025-12-01
HAQ-PHC-012 | General Practice Clinic | Medical Scale | ACTEST | TCS-200-RT | N/A | 2025-12-01
HAQ-PHC-013 | General Practice Clinic | Otoscope | Welch Allyn | GS777 | N/A | 2025-12-01
HAQ-PHC-014 | General Practice Clinic | Examination Lamp | Riester | Ri-magic | 3117 | 2025-12-01
HAQ-PHC-015 | General Practice Clinic | X-ray Film Viewer | Medical Premier | N/A | N/A | 2025-12-01
HAQ-PHC-016 | General Practice Clinic | X-ray Film Viewer | Medical Premier | N/A | N/A | 2025-12-01
HAQ-PHC-017 | General Practice Clinic | Otoscope | Welch Allyn | GS777 | N/A | 2025-12-01
HAQ-PHC-018 | General Practice Clinic | Wall Diagnostic Set | Welch Allyn | 777 | N/A | 2025-12-01
HAQ-PHC-019 | Dental Clinic | Dental Unit | Sirona | C8+ | 15397 | 2025-12-01
HAQ-PHC-020 | Dental Clinic | Dental Amalgamator | De Gotzen | Softly 8 | 46704 | 2025-12-01
HAQ-PHC-021 | Dental Clinic | Intraoral X-Ray | BlueX | Intra Os 70 | 2306AA7070 | 2025-12-01
HAQ-PHC-022 | Emergency & Observation | Defibrillator | Zoll | AED | X17I957156 | 2025-12-01
HAQ-PHC-023 | Emergency & Observation | Electrocardiograph (ECG) | BLT | E65 | E61B0001574 | 2025-12-01
HAQ-PHC-024 | Emergency & Observation | Suction Machine | Uskon | US-900 | 1222725 | 2025-12-01
HAQ-PHC-025 | Maternal & Child Health | Fetal Doppler | Huntleigh | D920 | C125-00087 | 2025-12-01
HAQ-PHC-026 | Maternal & Child Health | Fetal Monitor | BLT | F30 | F47B0000414 | 2025-12-01
HAQ-PHC-027 | Maternal & Child Health | Ultrasound | GE | Logiq 100 | 52236W57 | تكهين
HAQ-PHC-028 | Triage / Nursing | Electronic Thermometer | Welch Allyn | 18 | 15070070 | 2025-12-01
HAQ-PHC-029 | Triage / Nursing | Vital Signs Monitor | Edan | M3 | M18C11850023 | 2025-12-01
HAQ-PHC-030 | Triage / Nursing | Electronic Thermometer | Covidien | N/A | A2152078X | 2025-12-01
HAQ-PHC-031 | Triage / Nursing | Medical Scale | Seca | 769 | N/A | 2025-12-01
HAQ-PHC-032 | Triage / Nursing | Infant Scale | Fazzini | S7800 | N/A | 2025-12-01
HAQ-PHC-033 | Triage / Nursing | Medical Scale | Detecto | Apex | N/A | 2025-12-01
KHL-PHC-001 | Dental Clinic | Dental Unit | Castellini | Skema 5 | 71C10306 | 10 / 2025
KHL-PHC-002 | Dental Clinic | Intraoral X-Ray | Bluex | Intra Os 70 | 2706ws0075 | 10 / 2025
KHL-PHC-003 | Dental Clinic | Dental Scaler | VRN | K08 | K08AY01106 | 10 / 2025
KHL-PHC-004 | Dental Clinic | Curing Light Unit | TPC | Hilux - 200 | N/A | 10 / 2025
KHL-PHC-005 | Medical Laboratory | Centrifuge | Medlue | T-550 | 21100015080427 | 10 / 2025
KHL-PHC-006 | Medical Laboratory | Biological Microscope | Binocular | PB-3320 | zj 03136026 | 10 / 2025
KHL-PHC-007 | Medical Laboratory | Blood Roller Mixer | Medtrue | MT-200 | L740550711 | 10 / 2025
KHL-PHC-008 | Emergency & Observation | Medical Examination Bed | Medtrue | 3TM-UK | MT-15N4055 | 10 / 2025
KHL-PHC-009 | Emergency & Observation | Medical Examination Bed | Medtrue | 3TM-UK | MT15N4055 | 10 / 2025
KHL-PHC-010 | Emergency & Observation | Nebulizer | SYSTEM | DN1004 | HU1102328 | 10 / 2025
KHL-PHC-011 | Emergency & Observation | Nebulizer | Beurer | IH 25/1 | X01001292 | 10 / 2025
KHL-PHC-012 | Sterilization Room (CSSD) | Steam Sterilizer (Autoclave) | new med | B23 | mb2ncu1096 | 10 / 2025
KHL-PHC-013 | Sterilization Room (CSSD) | Water Bath | Gemmy | YCW-010E21 | 130304031 | 10 / 2025
KHL-PHC-014 | General Practice Clinic | Vital Signs Monitor | Medtrue | CLASS I | MT-95202401 | 10 / 2025
KHL-PHC-015 | General Practice Clinic | Vital Signs Monitor | Medtrue | CLASS I | 9520399 | 10 / 2025
KHL-PHC-016 | General Practice Clinic | Vital Signs Monitor | Medtrue | CLASSI | MT-9520439 | 10 / 2025
KHL-PHC-017 | General Practice Clinic | Medical Examination Light | Medtrue | RI-magic | D74055082 | 10 / 2025
KHL-PHC-018 | General Practice Clinic | Personal Scale (Adult) | Health o meter | 500 kl | 0172358 | 10 / 2025
KHL-PHC-019 | General Practice Clinic | Personal Scale (Adult) | Health o meter | 500 KL | 0171668 | 10 / 2025
KHL-PHC-020 | General Practice Clinic | Digital Thermometer | Welch Allyn | Sure Temp Plus | 12200789 | 10 / 2025
KHL-PHC-021 | Maternal & Child Health (MCH) | Fetal Doppler | Huntleigh | SR2 | 772C201335920 | 10 / 2025
KHL-PHC-022 | Maternal & Child Health (MCH) | Pediatric Scale (Infant) | Medtrue | 553 kl | 0033461 | 10 / 2025
KHL-PHC-023 | Maternal & Child Health (MCH) | Pediatric Scale (Infant) | Medtrue | EBSB 2 | N/A | 10 / 2025
DRB-PHC-001 | General Practice Clinic | Examination Light | N/A | M-2021 | 409150034 | 2025-08-01
DRB-PHC-002 | General Practice Clinic | Examination Light | TECHNO MED | TMI-EL-7X1 | N/A | 2025-08-01
DRB-PHC-003 | Emergency & Observation | Vital Signs Monitor | Welch Allyn | Nellcor | N/A | 2025-08-01
DRB-PHC-004 | Maternal & Child Health (MCH) | Weighing Scale | Al-Alam | MSW-250L | N/A | 2025-08-01
DRB-PHC-005 | Medical Laboratory | Centrifuge | Heraeus | Labofuge 200 | N/A | 2025-08-01
DRB-PHC-006 | Medical Laboratory | Microscope | Labomed | Lx 400 | 9126003 | 2025-08-01
DRB-PHC-007 | Medical Laboratory | Hematology Analyzer | Sysmex | XP-300 | A7742 | 2025-08-01
DRB-PHC-008 | Medical Laboratory | HbA1c Analyzer | Abbott | Afinion 2 | AF2032121 | 2025-08-01
DRB-PHC-009 | Medical Laboratory | Chemistry Analyzer | Abaxis | Piccolo | P27649 | 2025-08-01
DRB-PHC-010 | General Practice Clinic | Otoscope | Kawe | Kawe | N/A | 2025-08-01
DRB-PHC-011 | General Practice Clinic | Otoscope | Kawe | Kawe | N/A | 2025-08-01
DRB-PHC-012 | Maternal & Child Health (MCH) | Weighing Scale | ADAM | TCS-200-RT | N/A | 2025-08-01
DRB-PHC-013 | Central Sterile Services Dept (CSSD) | Autoclave | W&H | Lina | 135417 | 2025-08-01
DRB-PHC-014 | General Practice Clinic | Examination Light | N/A | M-2021 | 409150037 | 2025-08-01
DRB-PHC-015 | Dental Clinic | Scaler | Gandus | Miniro H-Seal | 120 | 2025-08-01
DRB-PHC-016 | Maternal & Child Health (MCH) | Infant Scale | N/A | HCS-20-YE | HCS201408045 | 2025-08-01
DRB-PHC-017 | Maternal & Child Health (MCH) | Thermometer | Covidien | N/A | A2063700X | 2025-08-01
DRB-PHC-018 | Dental Clinic | Light Cure | ATC | N/A | N/A | 2025-08-01
DRB-PHC-019 | Dental Clinic | Amalgamator | ATS | TAC ultramix | 231029 | 2025-09-01
DRB-PHC-020 | Dental Clinic | Dental X-ray | myray | Dc Ac | 97780856 | 2025-09-01
DRB-PHC-021 | Dental Clinic | Dental Chair | Castellini | ELI Power | 71CUL554 | 2025-09-01
DRB-PHC-022 | Maternal & Child Health (MCH) | Weighing Scale | Seca | 716 | 10000000396952 | 2025-08-01
DRB-PHC-023 | Emergency & Observation | Vital Signs Monitor | Mindray | VS-900 | FV-6C013845 | 2025-08-01
DRB-PHC-024 | Emergency & Observation | Laryngoscope | medizintechnik | Kawe | N/A | 2025-08-01
DRB-PHC-025 | Maternal & Child Health (MCH) | Fetal Doppler | Huntleigh | Sonicaid | 772C21313220 | 2025-08-01
DRB-PHC-026 | Emergency & Observation | Patient Monitor | Masimoset | BLT V9 | VZB0000292 | 2025-08-01
DRB-PHC-027 | Maternal & Child Health (MCH) | Weighing Scale | ARTIST | TCS 200 RT | N/A | 2025-08-01
DRB-PHC-028 | Emergency & Observation | Vital Signs Monitor | Hillrom/Welch Allyn | 4400 | 10052872223 | 2025-08-01
DRB-PHC-029 | General Practice Clinic | Weighing Scale | Health o meter | N/A | N/A | 2025-08-01
DRB-PHC-030 | General Practice Clinic | Examination Light | MAG FIXING LAMP | M-2021 | 409150092 | 2025-08-01
DRB-PHC-031 | General Practice Clinic | Otoscope | COMBLIGHT | C10 Kawe | 43 | 2025-08-01
DRB-PHC-032 | General Practice Clinic | Otoscope | COMB LIGHT | C10 Kawe | 42 | 2025-08-01
DRB-PHC-033 | General Practice Clinic | Examination Light | MAGNIFYING LAMP | M-2021 | 409150112 | 2025-08-01
DRB-PHC-034 | General Practice Clinic | Weighing Scale | ARTIST | TCS 200 RT | N/A | 2025-08-01
DRB-PHC-035 | General Practice Clinic | Examination Light | Famed Lodz S.A | PH-132 | 20120705 | 2025-08-01
DRB-PHC-036 | General Practice Clinic | Vital Signs Monitor | Mindray | VS-900 | FV-6C013982 | 2025-08-01
DRB-PHC-037 | General Practice Clinic | Portable Suction Unit | Yuwell | 7E-G | 2018080170 | 2025-08-01
DRB-PHC-038 | General Practice Clinic | ECG | Progetti | Class II CF | R61609159R | 2025-08-01
DRB-PHC-039 | General Practice Clinic | Weighing Scale | ARTIST | TCS 200 RT | N/A | 2025-08-01
DRB-PHC-040 | General Practice Clinic | Otoscope | COMBLIGHT | C10 Kawe | N/A | 2025-08-01
DRB-PHC-041 | Radiology (X-Ray) | CR Printer | Konica Minolta | Regius $\Sigma$ II | AS5R-52904 | 2025-08-01
DRB-PHC-042 | Radiology (X-Ray) | X-Ray Machine | Shimadzu | 0362R81912 | ud1RL | 2025-08-01
RYT-PHC-001 | Dental Clinic | Amalgamator | de Götzen | SOFTLY 8 | 46688 | 2026-01-01
RYT-PHC-002 | Dental Clinic | Dental Unit | CASTELLINI | PUMA ELI R | 71CU1331 | 2026-01-01
RYT-PHC-003 | Dental Clinic | Intraoral X-Ray Unit | TipSet Vario | 62 80 304 | 2905VA3047 | 2026-01-01
RYT-PHC-004 | Medical Laboratory | HbA1c Analyzer | Roche | cobas b 101 | Q60041347 | 2026-01-01
RYT-PHC-005 | Medical Laboratory | Vortex Tube Mixer | JISICO | J-MF | 8101 | 2026-01-01
RYT-PHC-006 | Medical Laboratory | Hematology Analyzer | SYSMEX | XP-300 | B1864 | 2026-01-01
RYT-PHC-007 | Medical Laboratory | Centrifuge | Kendro (Heraeus) | Labofuge 200 | 40338430 | 2026-01-01
RYT-PHC-008 | Medical Laboratory | Optical Microscope | OLYMPUS | CX23LEDRFS1 | 5A85578 | 2026-01-01
RYT-PHC-009 | General Practice Clinic | Wall Diagnostic Station | Riester | ri-former | 64945 | 2026-01-01
RYT-PHC-010 | General Practice Clinic | Vision Testing Chart | N/A | Tavola Ottometrica | N/A | 2026-01-01
RYT-PHC-011 | Emergency & Observation | Diagnostic Lamp | FAMED ŁÓDŹ | SOLIS 30W | 20180436 | 2026-01-01
RYT-PHC-012 | Emergency & Observation | Electronic Thermometer | Welch Allyn | 01692-100 | 18197970 | 2026-01-01
RYT-PHC-013 | Emergency & Observation | Vital Signs Monitor | Mindray | VS-900 | FV-6C013988 | 2026-01-01
RYT-PHC-014 | Emergency & Observation | AED (Defibrillator) | Physio-Control | LIFEPAK 1000 | 46128084 | 2026-01-01
RYT-PHC-015 | Maternal & Child Health (MCH) | Pediatric Digital Scale | Health o meter | 553KL | 553 0033376 | 2026-01-01
RYT-PHC-016 | Maternal & Child Health (MCH) | Pediatric Digital Scale | ADE | M112600 | 12090693 | 2026-01-01
RYT-PHC-017 | General Practice Clinic | Vital Signs Monitor | Mindray | VS-900 | FV-6C013975 | 2026-01-01
RYT-PHC-018 | General Practice Clinic | Electronic Column Scale | seca | 769 | 1000000396965 | 2026-01-01
RYT-PHC-019 | General Practice Clinic | Digital Flat Scale | seca | 813 | 8813024202406 | 2026-01-01
RYT-PHC-020 | Maternal & Child Health (MCH) | Ultrasound System | Samsung Medison | SONOACE R7 | S0XMM3HK900023L | 2026-01-01
RYT-PHC-021 | Maternal & Child Health (MCH) | Vital Signs Monitor | Mindray | VS-900 | FV-6C013858 | 2026-01-01
RYT-PHC-022 | Maternal & Child Health (MCH) | Wall Diagnostic Station | Riester | ri-former | SN064937 | 2026-01-01
RYT-PHC-023 | Maternal & Child Health (MCH) | Fetal Doppler | Biocare | FM-200 | 3313050718 | 2026-01-01
RYT-PHC-024 | Medical Laboratory | Autoclave (Class B) | MAMMOOTH | SUPERIOR B23 | ZHB23C1872 | 2026-01-01
SAD-PHC-001 | Emergency & Observation | Automated External Defibrillator (AED) | Zoll | AED Plus | N/A | 2025-10-01
SAD-PHC-002 | Maternal & Child Health (MCH) | Medical Weight Scale | SECA | 713 | 8813024201593 | 2025-10-01
SAD-PHC-003 | General Practice Clinic | Examination Light | Famed | N/A | N/A | 2025-10-01
SAD-PHC-004 | General Practice Clinic | Infrared Thermometer | Welch Allyn | SureTemp Plus | 12240874 | 2025-10-01
SAD-PHC-005 | Emergency & Observation | Vital Signs Monitor | Philips | SureSigns VS3 | US82005315 | 2025-10-01
SAD-PHC-006 | General Practice Clinic | Otoscope | Riester | ri-former | N/A | 2025-10-01
SAD-PHC-007 | Maternal & Child Health (MCH) | Digital Medical Scale | SECA | N/A | N/A | 2025-10-01
SAD-PHC-008 | Maternal & Child Health (MCH) | Medical Weight Scale | SECA | 704 | N/A | 2025-10-01
SAD-PHC-009 | Maternal & Child Health (MCH) | Infant Scale | Health O Meter | 500KL | N/A | 2025-10-01
SAD-PHC-010 | Medical Laboratory | HbA1c Analyzer | Abbott | Afinion 2 | AF20086395 | 2025-10-01
SAD-PHC-011 | Emergency & Observation | Electrocardiograph (ECG) | Schiller | AT-101 | 080-30003 | 2025-10-01
SAD-PHC-012 | Emergency & Observation | Vital Signs Monitor | Riester | RVS-100 | 3258 | 2025-10-01
SAD-PHC-013 | Emergency & Observation | Vital Signs Monitor | Philips | VS2 | N/A | 2025-10-01
SAL-PHC-001 | General Practice Clinic | Otoscope | Riester | ri-former | N/A
SAL-PHC-002 | General Practice Clinic | Examination Lamp | Riester | ri-magic | 3124
SAL-PHC-003 | General Practice Clinic | Digital Thermometer | Welch Allyn | SureTemp Plus | 1225424
SAL-PHC-004 | General Practice Clinic | Health Scale | Health o meter | Professional | N/A
SAL-PHC-005 | General Practice Clinic | X-Ray Film Viewer | Medical Premiere | N/A | N/A
SAL-PHC-006 | General Practice Clinic | Diagnostic Wall Unit | Riester | ri-former | N/A
SAL-PHC-007 | General Practice Clinic | Diagnostic Wall Unit | Welch Allyn | N/A | 408282
SAL-PHC-008 | General Practice Clinic | Column Scale with Stadiometer | ADE | N/A | N/A
SAL-PHC-009 | General Practice Clinic | Health Scale | Health o meter | 500KL | 172348
SAL-PHC-010 | General Practice Clinic | Examination Lamp | Fazzini | N/A | 2738
SAL-PHC-011 | General Practice Clinic | X-Ray Film Viewer | Medical Premiere | N/A | N/A
SAL-PHC-012 | General Practice Clinic | Vital Signs Monitor | CSI | 506nt3 | N/A
SAL-PHC-013 | General Practice Clinic | X-Ray Film Viewer | Medical Premiere | N/A | N/A
SAL-PHC-014 | Emergency & Observation | Vital Signs Monitor | Huntleigh | Smartsigns Compact 300 | 781B200241520
SAL-PHC-015 | Emergency & Observation | Vital Signs Monitor | Huntleigh | Smartsigns Compact 300 | 772e201338020
SAL-PHC-016 | Emergency & Observation | Vital Signs Monitor | Philips | SureSigns VS2 | US02005321
SAL-PHC-017 | Emergency & Observation | Digital Thermometer | Welch Allyn | SureTemp Plus | 12233519
SAL-PHC-018 | Emergency & Observation | Suction Unit | Besmed | SU-A20 | 1222763
SAL-PHC-019 | Emergency & Observation | Electrocardiogram (ECG) | Nihon Kohden | Cardiofax C | 102900
SAL-PHC-020 | Emergency & Observation | Patient Monitor | EDAN | M3 | M1B105370164
SAL-PHC-021 | Maternal & Child Health | Baby Scale | Wunder | N/A | N/A
SAL-PHC-022 | Maternal & Child Health | Digital Thermometer | Covidien | N/A | A2066086X
SAL-PHC-023 | Maternal & Child Health | Pediatric Scale (Infant) | Rossmax | WE300 | 1500000189
SAL-PHC-024 | Maternal & Child Health | X-Ray Film Viewer | Medical Premiere | N/A | N/A
SAL-PHC-025 | Sterilization Room (CSSD) | Autoclave | Stern Weber | 28 Plus | AS200731
SAL-PHC-026 | Dental Clinic | Amalgamator | ATS Dental | TAG Ultramix | 230947
SAL-PHC-027 | Dental Clinic | Light Cure | Eighteeth | CuringPen-E | EL2H0603A260
SAL-PHC-028 | Dental Clinic | Dental X-Ray | eXtend/myray | RX DC | 706J014453
SAL-PHC-029 | Dental Clinic | Dental Chair | Sirona | C8+ | N/A
SAL-PHC-030 | Medical Laboratory | Water Distiller | Megahome | MH943T-SW | 678089
SAL-PHC-031 | Medical Laboratory | Centrifuge | HERMLE | Germany | 60130412
SAL-PHC-032 | Medical Laboratory | Vortex Mixer | LW | Special Mixer-LW 100 | 807873
SAL-PHC-033 | Radiology Department | X-Ray Unit | Shimadzu | UD150L-40E | D562R82306
SHQ-PHC-001 | Medical Laboratory | HbA1c Analyzer | Roche | Cobas b 101 | G2091326 | 2026-01-01
SHQ-PHC-002 | Medical Laboratory | Microscope | Leica | DM750 | C940377026KU011 | 2026-01-01
SHQ-PHC-003 | Medical Laboratory | Centrifuge | Heraeus | Labofuge 200 | N/A | 2026-01-01
SHQ-PHC-004 | General Practice Clinic | X-ray Film Viewer | N/A | N/A | N/A | 2026-01-01
SHQ-PHC-005 | General Practice Clinic | X-ray Film Viewer | N/A | N/A | N/A | 2026-01-01
SHQ-PHC-006 | General Practice Clinic | X-ray Film Viewer | N/A | N/A | N/A | 2026-01-01
SHQ-PHC-007 | Maternal & Child Health | Medical Scale | Health O Meter | Professional | N/A | 2026-01-01
SHQ-PHC-008 | Maternal & Child Health | Fetal Doppler | Toitu | FD-390 | 9211032 | 2026-01-01
SHQ-PHC-009 | Maternal & Child Health | Ultrasound Machine | GE | LOGEQ e 100 | 42326WS9 | 2026-01-01
SHQ-PHC-010 | Dental Clinic | Dental X-ray | MyRay | RX DC | N/A | 2026-01-01
SHQ-PHC-011 | Dental Clinic | Dental Unit | Castellini | Puma ELI | 71CW1536 | 2026-01-01
SHQ-PHC-012 | Dental Clinic | Curing Light | Acteon | Mini LED | 311585091 | 2026-01-01
SHQ-PHC-013 | Dental Clinic | Amalgamator | TPC | D-650 | L150176 | 2026-01-01
SHQ-PHC-014 | General Practice Clinic | Digital Thermometer | Welch Allyn | SureTemp | 19388179 | 2026-01-01
SHQ-PHC-015 | General Practice Clinic | Vital Signs Monitor | Edan | M3 | M19701360010 | 2026-01-01
SHQ-PHC-016 | General Practice Clinic | Medical Scale | ADE | N/A | N/A | 2026-01-01
SHQ-PHC-017 | General Practice Clinic | Digital Thermometer | Welch Allyn | SureTemp Plus | 19358059 | 2026-01-01
SHQ-PHC-018 | Emergency / CPR | Suction Machine | CA-MI | Askir-C30 | 16009 | 2026-01-01
SHQ-PHC-019 | Emergency / CPR | Defibrillator | Mindray | BeneHeart D6 | N/A | 2026-01-01
SHQ-PHC-020 | Emergency / CPR | Electrocardiograph (ECG) | Edan | Exepres-12 | M20809970033 | 2026-01-01
SHQ-PHC-021 | Medical Laboratory | Chemistry Analyzer | FujiFilm | Dri-Chem nx700 | 97121576 | 2026-01-01
SHQ-PHC-022 | Medical Laboratory | Chemistry Analyzer | ABAXIS | Picolo | P27673 | 2026-01-01
SHQ-PHC-023 | Medical Laboratory | Blood Mixer | LW | LW 100 | 807880 | 2026-01-01
SHQ-PHC-024 | Medical Laboratory | Chemistry Analyzer | ABAXIS | Picolo | P27649 | 2026-01-01
SHQ-PHC-025 | Maternal & Child Health | Infant Scale | Fazzini | — | — | 2026-01-01
SHQ-PHC-026 | Central Sterilization | Autoclave (Class B) | Euronda | E8 | EXR211024 | 2026-01-01
SHQ-PHC-027 | Central Sterilization | Water Distiller | MAGAHOME | AQUADIST | EDP210685 | 2026-01-01
SHQ-PHC-028 | Central Sterilization | Water Distiller | GFL | 2008 | — | 2026-01-01
SHQ-PHC-029 | Emergency / CPR | Medical Scale | ADE | — | — | 2026-01-01
SHQ-PHC-030 | Emergency / CPR | Vital Signs Monitor | Huntleigh | Compact 300 | 751B300252620 | 2026-01-01
SHQ-PHC-031 | General Practice Clinic | Medical Scale | ADAM | mdw 300 | — | 2026-01-01
SHQ-PHC-032 | Maternal & Child Health | Medical Scale | Health O Meter | Professional | — | 2026-01-01
SHQ-PHC-033 | General Practice Clinic | Vital Signs Monitor | Edan | m3 | m19701360025 | 2026-01-01
SHQ-PHC-034 | General Practice Clinic | Otoscope | — | — | — | 2026-01-01
SHQ-PHC-035 | General Practice Clinic | Examination Lamp | Riester | ri-magic | — | 2026-01-01
SHQ-PHC-036 | General Practice Clinic | Examination Lamp | — | — | — | 2026-01-01
SHQ-PHC-037 | General Practice Clinic | Examination Lamp | Riester | ri-magic | 3192 | 2026-01-01
ALA-PHC-001 | Dental Clinic | Dental Unit | Sirona | Intego | N/A | 2026-10-01
ALA-PHC-002 | General Practice Clinic | Sphygmomanometer | Hillrom | N/A | N/A | 2026-10-01
ALA-PHC-003 | General Practice Clinic | Vital Signs Monitor | Welch Allyn | Connex | 1000752122 | 2026-10-01
ALA-PHC-004 | CSSD | Autoclave | Midmark | B23 | MB2NCN0638 | 2026-10-01
ALA-PHC-005 | Emergency & Observation | Suction Machine | CA-MI | Asker 36 | 6956 | 2026-10-01
ALA-PHC-006 | Emergency & Observation | Defibrillator | Zoll | AED Plus | 847946 | 2026-10-01
ALA-PHC-007 | Emergency & Observation | Electrocardiograph (ECG) | Mortara | ELI 280 | N/A | 2026-10-01
ALA-PHC-008 | Emergency & Observation | Vital Signs Monitor | Welch Allyn | Connex | 100075302122 | 2026-10-01
ALA-PHC-009 | Emergency & Observation | Medical Scale | Seca | 797 | 10000000996711 | 2026-10-01
ALA-PHC-010 | Dental Clinic | Amalgamator | TAC | Ultramat 2 | 231023 | 2026-10-01
ALA-PHC-011 | Dental Clinic | Dental Curing Light | LY | A180 | A240409742 | 2026-10-01
ALA-PHC-012 | Dental Clinic | Dental X-Ray | MyRay | RX DC | 706G2336 | 2026-10-01
ALA-PHC-013 | General Practice Clinic | Examination Lamp | Techamed | TMI-EL | 23-07-679 | 2026-10-01
ALA-PHC-014 | General Practice Clinic | Otoscope | Welch Allyn | Walla | N/A | 2026-10-01
ALA-PHC-015 | General Practice Clinic | Otoscope | Welch Allyn | Walla | N/A | 2026-10-01
ALA-PHC-016 | General Practice Clinic | Sphygmomanometer | Hillrom | N/A | 23020110950 | 2026-10-01
ALA-PHC-017 | General Practice Clinic | Examination Lamp | KLS Martin | N/A | 1117774132 | 2026-10-01
ALA-PHC-018 | General Practice Clinic | Otoscope | Welch Allyn | GS 777 | N/A | 2026-10-01
ALA-PHC-019 | Emergency & Observation | Medical Scale | ae-Adam | MDW-300L | N/A | 2026-10-01
ALA-PHC-020 | General Practice Clinic | Sphygmomanometer | Hillrom | N/A | N/A | 2026-10-01
ALA-PHC-021 | General Practice Clinic | Vital Signs Monitor | Hillrom | Vital Signs 4400 | 100059072723 | 2026-10-01
ALA-PHC-022 | Vaccination Room | Digital Thermometer | Welch Allyn | SureTemp | 22246653 | 2026-10-01
ALA-PHC-023 | Vaccination Room | Infant Medical Scale | UMF | N/A | 151271-0030 | 2026-10-01
ALA-PHC-024 | General Practice Clinic | Vital Signs Monitor | Welch Allyn | Spot Vital 4400 | 100059092723 | 2026-10-01
ALA-PHC-025 | General Practice Clinic | Medical Scale | Seca | 703 | 996713 | 2026-10-01
ALA-PHC-026 | General Practice Clinic | Medical Scale | Detecto | Solo | 113169 | 2026-10-01
ALA-PHC-027 | Emergency & Observation | Examination Lamp | Technomed | N/A | N/A | 2026-10-01
ALA-PHC-028 | General Practice Clinic | Examination Lamp | KLS Martin | N/A | 1118406045 | 2026-10-01
ALA-PHC-029 | General Practice Clinic | Sphygmomanometer | Hillrom | N/A | 23020110950 | 2026-10-01
ALA-PHC-030 | Emergency & Observation | Examination Lamp | KLS Martin | N/A | 1117774132 | 2026-10-01
ALA-PHC-031 | Emergency & Observation | Otoscope | Hillrom | N/A | N/A | 2026-10-01
ALA-PHC-032 | Obstetrics & Gynecology | Fetal Doppler | Huntleigh | Dopplex D920 | N/A | 2026-10-01
ALA-PHC-033 | General Practice Clinic | Otoscope | Welch Allyn | N/A | N/A | 2026-10-01
ALA-PHC-034 | General Practice Clinic | Examination Lamp | N/A | N/A | N/A | 2026-10-01
ALA-PHC-035 | Emergency & Observation | Medical Scale | Seca | 760 | 100000009968 | 2026-10-01
ASH-PHC-001 | General Practice Clinic | Vital Signs Monitor | CSI | 506 nt3 | N/A | 2026-10-01
ASH-PHC-002 | General Practice Clinic | SNELLEN CHART | Keeler | Finesse | N/A | 2026-10-01
ASH-PHC-003 | General Practice Clinic | Otoscope | Riester | Ri-former | N/A | 2026-10-01
ASH-PHC-004 | General Practice Clinic | Examination Lamp | Riester | Ri-magic | N/A | 2026-10-01
ASH-PHC-005 | Emergency & Observation | Defibrillator | Smarty Save | SM1-B1001 | 21SM107052300040 | 2026-10-01
ASH-PHC-006 | General Practice Clinic | Otoscope | Welch Allyn | GS 777 | N/A | 2026-10-01
ASH-PHC-007 | Emergency & Observation | Electrocardiograph (ECG) | Nihon Kohden | Cardiofax C | 102842 | 2026-10-01
ASH-PHC-008 | Emergency & Observation | X-Ray Machine | Shimadzu | UD150L-40E | 0562R81315 | 2026-10-01
ASH-PHC-009 | Medical Laboratory | Hematology Analyzer | Sysmex | XP-300 | A9065 | 2026-10-01
ASH-PHC-010 | Medical Laboratory | Centrifuge | Hermle | N/A | N/A | 2026-10-01
ASH-PHC-011 | Maternal & Child Health (MCH) | Ultrasound Machine | GE | logiq 200 | 49355WS1 | 2026-10-01
ASH-PHC-012 | Maternal & Child Health (MCH) | Digital Scale | Health O Meter | Professional | N/A | 2026-10-01
ASH-PHC-013 | Maternal & Child Health (MCH) | Infant Scale | Health O Meter | 500KL | N/A | 2026-10-01
ASH-PHC-014 | Maternal & Child Health (MCH) | Column Scale | Seca | 769 | N/A | 2026-10-01
ASH-PHC-015 | General Practice Clinic | Column Scale | Health O Meter | 500KL | N/A | 2026-10-01
ASH-PHC-016 | General Practice Clinic | Vital Signs Monitor | Huntleigh | Smartsigns | 781B300249020 | 2026-10-01
ASH-PHC-017 | Emergency & Observation | Suction Machine | Ca-mi | Askir 230 | 23330 | 2026-10-01
ASH-PHC-018 | Dental Clinic | Dental X-Ray Machine | MyRay | RXDC | 7243014642 | 2026-10-01
ASH-PHC-019 | Dental Clinic | Dental Chair Unit | Castellini | Puma Eli | 71CU1311 | 2026-10-01
ASH-PHC-020 | Dental Clinic | Dental Amalgamator | ATS | AC 400 | 223144 | 2026-10-01
ASH-PHC-021 | Dental Clinic | Examination Lamp | Cams | Curing Pen 7 | EL-21H0603A441 | 2026-10-01
ASH-PHC-022 | Sterilization Unit | Water Distiller | Joident | Distillo | F300361 | 2026-10-01
ASH-PHC-023 | Sterilization Unit | Benchtop Autoclave | Runyes | B23 | N/A | 2026-10-01
ASH-PHC-024 | Sterilization Unit | Benchtop Autoclave | Tecno-Gaz | Europa BXP | N/A | 2026-10-01
ASH-PHC-025 | Sterilization Unit | Rotary Sealer | Famos | F110 | 280 | 2026-10-01
FTH-PHC-001 | Medical Laboratory | Microscope | Nikon | YS100 | 515889 | 2026-09-01
FTH-PHC-002 | Medical Laboratory | Point of Care Analyzer (Cobas) | Roche | Cobas b101 | 260041345 | 2025-09-01
FTH-PHC-003 | Medical Laboratory | Centrifuge | Heraeus | Labofuge 200 | N/A | 2025-09-01
FTH-PHC-004 | Medical Laboratory | Hematology Analyzer (CBC) | Mindray | XP300 | B1862 | 2026-09-01
FTH-PHC-005 | General Practice Clinic | Vital Signs Monitor | Mindray | iMEC 10 | EX-6C040246 | 2025-09-01
FTH-PHC-006 | General Practice Clinic | Thermometer | Welch Allyn | SureTemp+ | 12233574 | 2025-09-01
FTH-PHC-007 | General Practice Clinic | Otoscope | Welch Allyn | GS777 | N/A | 2025-09-01
FTH-PHC-008 | General Practice Clinic | Examination Lamp | Riester | ri-magic | N/A | 2025-09-01
FTH-PHC-009 | General Practice Clinic | Weight Scale | Seca | N/A | N/A | 2025-09-01
FTH-PHC-010 | Dental Clinic | Dental Unit | Castellini | Puma ELI | 71C41587 | 2025-09-01
FTH-PHC-011 | General Practice Clinic | Vital Signs Monitor | CSI | 506 NVT3 | N/A | 2025-09-01
FTH-PHC-012 | Maternal & Child Health (MCH) | Infant Scale | ADE | M112600 | 56618903 | 2025-09-01
FTH-PHC-013 | Emergency & Observation | Autoclave | Midmark | M11 | N/A | 2025-09-01
FTH-PHC-014 | General Practice Clinic | Medical Scale | Seca | 769 | N/A | 2025-09-01
FTH-PHC-015 | Emergency & Observation | Vital Signs Monitor | Mindray | VS-900 | FV-6C013854 | 2025-09-01
FTH-PHC-016 | Emergency & Observation | Nebulizer | iCare | CNB69010 | AACC1022 | 2025-09-01
FTH-PHC-017 | General Practice Clinic | Medical Scale | Health O Meter | 499KL | 172258 | 2025-09-01
FTH-PHC-018 | General Practice Clinic | Thermometer | Welch Allyn | SureTemp Plus | 12233566 | 2025-09-01
FTH-PHC-019 | Dental Clinic | Amalgamator | ATS | TAC Ultramix | 230924 | 2025-09-01
FTH-PHC-020 | Maternal & Child Health (MCH) | Infant Scale | ADE | M112600 | 56618908 | 2025-09-01
FTH-PHC-021 | Dental Clinic | Autoclave | Melag | 23 B+ | 1223-B1527 | 2025-09-01
QWM-PHC-001 | Medical Laboratory | POCT Analyzer | Abbott | Afinion 2 | N/A | 2025-11-01
QWM-PHC-002 | Emergency & Observation | Vital Signs Monitor | Riester | RVS-100 | 2816 | 2025-11-01
QWM-PHC-003 | General Practice Clinic | Examination Light | Riester | Ri-magic | N/A | 2025-11-01
QWM-PHC-004 | General Practice Clinic | Otoscope | Welch Allyn | GS777 | N/A | 2025-11-01
QWM-PHC-005 | Maternal & Child Health (MCH) | Infant Scale | Fazzini | S7800 | N/A | 2025-11-01
QWM-PHC-006 | General Practice Clinic | Digital Thermometer | Welch Allyn | SureTemp | 12202369 | 2025-11-01
QWM-PHC-007 | General Practice Clinic | Medical Scale | Seca | 796 | 155550005422631 | 2025-11-01
QWM-PHC-008 | Emergency & Observation | Vital Signs Monitor | Huntleigh | Compact 300 | 781B300251520 | 2025-11-01
MHL-PHC-001 | Dental Clinic | Autoclave | Stern Weber | 28 Plus | AS200787 | 2025-11-01
MHL-PHC-002 | Dental Clinic | Water Distiller | Stillo | MH943T-SW | 678071 | 2025-11-01
MHL-PHC-003 | Maternal & Child Health (MCH) | Fetal Doppler | BLT | F20 | S47B0000372 | 2025-11-01
MHL-PHC-004 | Maternal & Child Health (MCH) | Ultrasound Machine | GE | LOGIQ V1 Pro | 49336MS1 | 2025-11-01
MHL-PHC-005 | Emergency & Observation | Suction Machine | CA-MI | ASKIR | 10808 | 2025-11-01
MHL-PHC-006 | General Practice Clinic | Otoscope | Riester | Ri-former | N/A | 2025-11-01
MHL-PHC-007 | Medical Laboratory | Hematology Analyzer | Sysmex | XP-300 | A9150 | 2025-11-01
MHL-PHC-008 | Emergency & Observation | Vital Signs Monitor | Creative Medical | PC-900 | 518110 | 2025-11-01
MHL-PHC-009 | Emergency & Observation | Electrocardiograph (ECG) | Nihon Kohden | Cardiofax M | 113913 | 2025-11-01
MHL-PHC-010 | Maternal & Child Health (MCH) | Vital Signs Monitor | EDAN | M3 | M18C09680001 | 2025-11-01
MHL-PHC-011 | Emergency & Observation | Defibrillator | Zoll | AED Plus | 847946 | 2025-11-01
MHL-PHC-012 | General Practice Clinic | Examination Lamp | Riester | ri-magic | 1998 | 2025-11-01
MHL-PHC-013 | General Practice Clinic | X-Ray Viewer | Medical Primereke | N/A | N/A | 2025-11-01
MHL-PHC-014 | Emergency & Observation | Vital Signs Monitor | Welch Allyn | Connex | 1000167674721 | 2025-11-01
MHL-PHC-015 | Emergency & Observation | Medical Scale | Health O Meter | 500KL | 4990010278 | 2025-11-01
MHL-PHC-016 | Emergency & Observation | Thermometer | Welch Allyn | SureTemp | 17182842 | 2025-11-01
MHL-PHC-017 | General Practice Clinic | X-Ray Viewer | Medical Primereke | N/A | N/A | 2025-11-01
MHL-PHC-018 | General Practice Clinic | Otoscope | Riester | ri-former | N/A | 2025-11-01
MHL-PHC-019 | Radiology Department | X-ray Machine | Shimadzu | UD150L-40F | 562821712 | 2025-11-01
MHL-PHC-020 | Radiology Department | X-ray Printer | Fujifilm | Primax T2 | 67279135 | 2025-11-01
MHL-PHC-021 | Medical Laboratory | HbA1c Analyzer | Abbott | Afinion 2 | AF20064425 | 2025-11-01
MHL-PHC-022 | Medical Laboratory | Microscope | Labomed | N/A | 9126003 | 2025-11-01
MHL-PHC-023 | Medical Laboratory | Centrifuge | Thermo | Medifuge | N/A | 2025-11-01
MHL-PHC-024 | General Practice Clinic | Otoscope | Riester | ri-former | N/A | 2025-11-01
MHL-PHC-025 | General Practice Clinic | Examination Lamp | N/A | N/A | N/A | 2025-11-01
MHL-PHC-026 | Maternal & Child Health (MCH) | Infant Scale | Clinton | N/A | N/A | 2025-11-01
MHL-PHC-027 | Dental Clinic | Dental Unit | Sirona | C8 | 15282 | 2025-11-01
MHL-PHC-028 | Dental Clinic | Amalgamator | Gatzen | Softly 8 | 35446 | 2025-11-01
MHL-PHC-029 | Dental Clinic | Dental X-ray | Image-x70+ | Dent x | 9992700801 | 2025-11-01
MTN-PHC-001 | IGeneral Practice Clinic | Ultrasonography System | GE | logic 100 Pro | N/A | 2025-11-01
MTN-PHC-002 | Dental Clinic | Intraoral Dental X-ray | MyRay | RXDC | 706J014735 | 2025-11-01
MTN-PHC-003 | Dental Clinic | Dental Operatory Unit | Castellini | Puma ELI | 71CU1583 | 2025-11-01
MTN-PHC-004 | Emergency & Observation | Electrocardiograph (ECG) | Edan | SE-12 | N/A | 2025-11-01
MTN-PHC-005 | Emergency & Observation | Automated External Defibrillator (AED) | SaveOne | HR-501 | 35S005082400015 | 2025-11-01
MTN-PHC-006 | General Practice Clinic | Vital Signs Monitor | Cosmed | 740 | 1201079 | 2025-11-01
MTN-PHC-007 | General Practice Clinic | Vital Signs Monitor | Welch Allyn | Connex | 100010744721 | 2025-11-01
MTN-PHC-008 | General Practice Clinic | Diagnostic Wall Station | Riester | Ri-former | N/A | 2025-11-01
MTN-PHC-009 | Emergency & Observation | Otoscope | Mediziniteche | Kawa | N/A | 2025-11-01
MTN-PHC-010 | Maternal & Child Health (MCH) | Fetal Doppler | Toitu | N/A | N/A | 2025-11-01
MTN-PHC-011 | General Practice Clinic | Medical Examination Lamp | Technomed | mti-EL-HEX | 23-07-740 | 2025-11-01
MTN-PHC-012 | General Practice Clinic | Medical Examination Lamp | Technomed | mti-EL-HEX | 07-747 | 2025-11-01
MTN-PHC-013 | Emergency & Observation | Medical Examination Lamp | Technomed | mti-EL-HEX | 07-738 | 2025-11-01
MTN-PHC-014 | General Practice Clinic | Medical Floor Scale | ADAM | MDW-300L | AE99YE26013 | 2025-11-01
MTN-PHC-015 | General Practice Clinic | Clinical Scale | Charder | ms 4900 | N/A | 2025-11-01
MTN-PHC-016 | Dental Clinic | Scale | ADE | N/A | N/A | 2025-11-01
MTN-PHC-017 | Maternal & Child Health (MCH) | Infant Scale | ADAM | MXB 20 | AE7302101 | 2025-11-01
MTN-PHC-018 | General Practice Clinic | Infant Scale | Wunder | N/A | N/A | 2025-11-01
MTN-PHC-019 | Medical Laboratory | HbA1c Analyzer | Roche | Cobas b101 | Q60041342 | 2025-11-01
MTN-PHC-020 | Sterilization Unit | Steam Sterilizer (Autoclave) | Aquarius | 300B | N/A | 2025-11-01
MTN-PHC-021 | Sterilization Unit | Biological Indicator Auto-reader | 3M | Attest | N/A | 2025-11-01
MTN-PHC-022 | Dental Clinic | AMALGAMATOR | ATS DENTL SRL | TAC 400/M | 22 3145 | 2025-11-01
MTN-PHC-023 | Radiology department | X-RAY | SHIMADZU | RAD SPEED MF | 0462R81513 | 2025-11-01
SBS-PHC-001 | General Practice Clinic | Vital Signs Monitor | Riester | RVS-100 | 3053 | 2025-12-01
SBS-PHC-002 | General Practice Clinic | Medical Scale | Health O meter | 500KL | N/A | 2025-12-01
SBS-PHC-003 | General Practice Clinic | Vital Signs Monitor | Riester | RVS-100 | N/A | 2025-12-01
SBS-PHC-004 | General Practice Clinic | Medical Scale | Health O meter | 500KL | N/A | 2025-12-01
SBS-PHC-005 | General Practice Clinic | Electronic Thermometer | Welch Allyn | SureTemp | 18145584 | 2025-12-01
SBS-PHC-006 | Maternal & Child Health (MCH) | Infant Scale | Fazzini | S7800 | N/A | 2025-12-01
SBS-PHC-007 | Emergency & Observation | Electrocardiograph (ECG) | Schiller | At-101 | 082-30001 | 2025-12-01
SBS-PHC-008 | Emergency & Observation | Automated External Defibrillator | Zoll | AED Plus | X17I953633 | 2025-12-01
SBS-PHC-009 | General Practice Clinic | Otoscope | Riester | ri-former | N/A | 2025-12-01
SBS-PHC-010 | General Practice Clinic | Examination Lamp | Riester | Ri-magic | 3131 | 2025-12-01
SBS-PHC-011 | General Practice Clinic | Medical Scale | Seca | mod 220 | N/A | 2025-12-01
SBS-PHC-012 | Maternal & Child Health (MCH) | Infant Scale | SR | Sr Scale | N/A | 2025-12-01
SBS-PHC-013 | Maternal & Child Health (MCH) | Infant Scale | Health O meter | 500KL | N/A | 2025-12-01
SBS-PHC-014 | General Practice Clinic | Diagnostic Wall System | Welch Allyn | GS 777 | N/A | 2025-12-01
SBS-PHC-015 | General Practice Clinic | Examination Lamp | Riester | Ri-magic | N/A | 2025-12-01
NBS-PHC-001 | Sterilization Room | Autoclave for Handpiece | Sirona | DAC Universal | 40709
NBS-PHC-002 | Sterilization Room | Ultrasonic Cleaner | LABOCON | LUC-108 | 88807020009
NBS-PHC-003 | Sterilization Room | Autoclave (Central) | MELAG | Cliniclave 45 | 2016C451113
NBS-PHC-004 | Sterilization Room | Water Distiller | Megahome | MH943T-SW | 678070
NBS-PHC-005 | Sterilization Room | Washer-Disinfector | Melag | MelaTherm 10 | N/A
NBS-PHC-006 | Sterilization Room | Autoclave | YouJoy | BES 22L | YM22L1602023
NBS-PHC-007 | Sterilization Room | Autoclave | Stern Weber | SW-28 PLUS | AS200829
NBS-PHC-008 | Sterilization Room | Dental Sealing Machine | Melag | MelaSeal Pro | 2016SPF4052
NBS-PHC-009 | Sterilization Room | Water Distiller | GFL | 2008 | 10990608 I
NBS-PHC-010 | Dental Clinic | Intraoral X-Ray | Dentsply Sirona | Heliodent Plus | 96429
NBS-PHC-011 | Dental Clinic | Intraoral X-Ray | MyRay | RXDC | N/A
NBS-PHC-012 | Dental Clinic | Curing Light | Eighteeth | CuringPen-E | EL2H0603A219
NBS-PHC-013 | Dental Clinic | Curing Light | Acteon | Mini LED | N/A
NBS-PHC-014 | Dental Clinic | Dental Unit | Castellini | Puma ELI | 71041392
NBS-PHC-015 | Dental Clinic | Amalgamator | ATS | Ultramix | 230948
NBS-PHC-016 | Dental Clinic | Amalgamator | TPC | D650 | L011643351
NBS-PHC-017 | Dental Clinic | Dental Unit | Castellini | Puma ELI | 71041467
NBS-PHC-018 | Maternal & Child Health | Medical Scale | Health O Meter | 500KL | N/A
NBS-PHC-019 | Maternal & Child Health | Ultrasound Machine | Samsung | SonoAce R7 | SOXMM3HK900025Y
NBS-PHC-020 | Maternal & Child Health | Medical Scale | Seca | Solo | N/A
NBS-PHC-021 | Maternal & Child Health | Medical Thermometer | Welch Allyn | SureTemp | N/A
NBS-PHC-022 | Maternal & Child Health | Vital Signs Monitor | Welch Allyn | Connex | 100075452122
NBS-PHC-023 | Maternal & Child Health | Medical Scale | Seca | Solo | N/A
NBS-PHC-024 | Maternal & Child Health | Medical Thermometer | Welch Allyn | SureTemp | N/A
NBS-PHC-025 | Maternal & Child Health | Medical Thermometer | Covidien | Genius 2 | A2063756X
NBS-PHC-026 | Maternal & Child Health | Vital Signs Monitor | Creative Medical | PC-900 | N/A
NBS-PHC-027 | Maternal & Child Health | Infant Scale | Medtrue UK | EBSB-20 | N/A
NBS-PHC-028 | Maternal & Child Health | Infant Scale | Medtrue UK | EBSB-20 | N/A
NBS-PHC-029 | Medical Laboratory | Chemistry Analyzer | Fujifilm | NX700i | 36431192
NBS-PHC-030 | Medical Laboratory | Hematology Analyzer | Sysmex | XP-300 | N/A
NBS-PHC-031 | Medical Laboratory | Hematology Analyzer | Sysmex | XP-300 | B1613
NBS-PHC-032 | Medical Laboratory | HbA1c Analyzer | Abbott | Afinion 2 | AF2032072
NBS-PHC-033 | Medical Laboratory | Centrifuge | Hermle | Z 206 A | 601304113
NBS-PHC-034 | Medical Laboratory | Microscope | Olympus | CX31 | 0M00212
NBS-PHC-035 | Emergency Room | Vital Signs Monitor | Creative Medical | PC-900 | J0100RC01162
NBS-PHC-036 | Emergency Room | Sphygmomanometer | Riester | Big Ben | 112115137
NBS-PHC-037 | Emergency Room | Medical Thermometer | Welch Allyn | SureTemp | N/A
NBS-PHC-038 | Emergency Room | Suction Machine | Gemmy | SU-990 | 1222826
NBS-PHC-039 | Emergency Room | ECG | Nihon Kohden | Cardiofax M | 113792
NBS-PHC-040 | Emergency Room | Defibrillator | Philips | Heartstart MRx | US00556436
NBS-PHC-041 | General Practice | Vital Signs Monitor | Welch Allyn | Connex | N/A
NBS-PHC-042 | General Practice | Medical Scale (Weight/Height) | DETECTO | apex | E0832K
NBS-PHC-043 | General Practice | Examination Lamp | Riester | Ri-magic | N/A
NBS-PHC-044 | General Practice | Examination Lamp | Riester | Ri-magic | 3
NBS-PHC-045 | Sterilization Room | Dental Sealing Machine | Melag | MelaSeal Pro | 2016SPF4052
NBS-PHC-046 | Radiology department | X-RAY | SHIMADZU | RAD SPEED MF | 0462R81513
GQH-PHC-001 | Medical Laboratory | HbA1c Analyzer | Cobas / Roche | Cobas b 101 | CQ60041348 | 11 / 2025
GQH-PHC-002 | Emergency & Observation | Vital Signs Monitor | Edan | M3a | 36125-M18302040006-01 | 11 / 2025
GQH-PHC-003 | Emergency & Observation | Vital Signs Monitor | Edan | 3MA | M18208770007 | 11 / 2025
GQH-PHC-004 | General Practice Clinic | Otoscope | Orion | timsco | N/A | 11 / 2025
GQH-PHC-005 | General Practice Clinic | Medical Examination Light | N/A | N/A | N/A | 11 / 2025
GQH-PHC-006 | General Practice Clinic | Personal Scale (Adult) | Detecto | Solo | N/A | 11 / 2025
GQH-PHC-007 | Maternal & Child Health (MCH) | Fetal Doppler | Contec Medical | Poket fetal | 112 | 11 / 2025
GQH-PHC-008 | Maternal & Child Health (MCH) | Pediatric Scale (Infant) | Rossmax | WE300 | 1500000112 | 11 / 2025
ATD-PHC-002 | Central Sterilization (CSSD) | Sealing Machine | Famo | F110 | 30200792 | 2025-10-01
ATD-PHC-003 | Central Sterilization (CSSD) | Water Distiller | Megahome | Stillo | 678088 | 2025-10-01
ATD-PHC-004 | Dental Clinic | Intraoral X-Ray System | Bluex | Intra Os 70 | 1912AA1614 | 2025-10-01
ATD-PHC-005 | Dental Clinic | Dental Curing Light | Dental Curing | Curing Pen | EL2H0603A107 | 2025-10-01
ATD-PHC-006 | Dental Clinic | Dental Amalgamator | ATS | TCA | 231032 | 2025-10-01
ATD-PHC-007 | Dental Clinic | Dental Unit | Castellini | ELIS | C72101233 | 2025-10-01
ATD-PHC-008 | Emergency & Observation | Suction Machine | medtrue.uk | mt05001311 | N/A | 2025-10-01
ATD-PHC-025 | Emergency & Observation | Defibrillator | Save One | SVO | 5012300029 | 2025-10-01
ATD-PHC-026 | Emergency & Observation | ECG Machine | newtech | 1103 | 316 2747 5113 | 2025-10-01
ATD-PHC-027 | Emergency & Observation | Suction Machine | medtrue.uk | mt05001311 | 251 2497 1487 | 2025-10-01
ATD-PHC-028 | Emergency & Observation | X-Ray Film Viewer | Fukugawa | F-2014 | N/A | 2025-10-01
ATD-PHC-009 | General Practice Clinic | Electronic Thermometer | Welch Allyn | SureTemp+ | 18472374 | 2025-10-01
ATD-PHC-010 | General Practice Clinic | Vital Signs Monitor | medtrue.uk | Class 1 | J0100JC004597 | 2025-10-01
ATD-PHC-021 | General Practice Clinic | Medical Examination Lamp | Riester | Ri-magic | N/A | 2025-10-01
ATD-PHC-022 | General Practice Clinic | X-Ray Film Viewer | Fukugawa | F-2014 | N/A | 2025-10-01
ATD-PHC-023 | General Practice Clinic | Diagnostic Wall Unit | Riester | Ri-former | N/A | 2025-10-01
ATD-PHC-024 | General Practice Clinic | Vision Test Board | Mobiclinic | m240 | N/A | 2025-10-01
ATD-PHC-017 | Laboratory | Hematology Analyzer | Sysmex | XP-300 | A7855 | 2025-10-01
ATD-PHC-018 | Laboratory | Optical Microscope | Triup | PB-3320 | 302 2664 5634 | 2025-10-01
ATD-PHC-019 | Laboratory | Laboratory Mixer / Roller | KJ | 201BD | N/A | 2025-10-01
ATD-PHC-020 | Laboratory | Centrifuge | Heraeus | Labofuge 200 | N/A | 2025-10-01
ATD-PHC-001 | Maternal & Child Health (MCH) | Medical Examination Lamp | Black | M-2021 | 409150057 | 2025-10-01
ATD-PHC-011 | Maternal & Child Health (MCH) | Medical Examination Lamp | Riester | Ri-magic | 3127 | 2025-10-01
ATD-PHC-012 | Maternal & Child Health (MCH) | Ultrasound Machine | newtech | newSonic C | 316 1747 7163 | 2025-10-01
ATD-PHC-013 | Maternal & Child Health (MCH) | Infant Scale | Laica | PS3001 | N/A | 2025-10-01
ATD-PHC-014 | Triage / Screening | Blood Pressure Monitor | KMB | DSK-1011 | 3617 | 2025-10-01
ATD-PHC-015 | Triage / Screening | Electronic Thermometer | Welch Allyn | SureTemp | 22053958 | 2025-10-01
ATD-PHC-016 | Triage / Screening | Personal Scale | Seca | 796 | N/A | 2025-10-01
QDS-PHC-001 | Maternal & Child Health (MCH) | Column Medical Scale | Detecto | Solo | N/A | 2025-08-01
QDS-PHC-002 | Dental Clinic | Intraoral X-Ray | new life | DYCB-X-1 | AD-E0106 | 2025-08-01
QDS-PHC-003 | Dental Clinic | Dental Unit | Diplomat | DA-130 | 170825 | 2025-08-01
QDS-PHC-004 | Maternal & Child Health (MCH) | Electronic Pediatric Scale | Beurer | Baby Care | N/A | 2025-08-01
QDS-PHC-005 | General Practice Clinic | Sphygmomanometer (Aneroid) | Riester | Big ben | 180840201 | 2025-08-01
QDS-PHC-006 | Emergency & Observation | Electrocardiograph (12-Lead) | Edan | Se-12 Express | N/A | 2025-08-01
QDS-PHC-007 | General Practice Clinic | Column Medical Scale | Detecto | Solo | N/A | 2025-08-01
QDS-PHC-008 | General Practice Clinic | Electronic Tympanic Thermometer | welch Allyn | SureTemp + | N/A | 2025-08-01
QDS-PHC-009 | General Practice Clinic | Vital Signs Monitor | Edan | M3 | N/A | 2025-08-01
QDS-PHC-010 | General Practice Clinic | Vital Signs Monitor | Edan | M3 | M18C09680004 | 2025-08-01
QDS-PHC-011 | General Practice Clinic | Electronic Tympanic Thermometer | welch Allyn | SureTemp + | N/A | 2025-08-01
QDS-PHC-012 | General Practice Clinic | Column Medical Scale | Detecto | Solo | N/A | 2025-08-01
QDS-PHC-013 | Maternal & Child Health (MCH) | Electronic Pediatric Scale | HCS | HCS-20-YE | Hcs20M08030 | 2025-08-01
QDS-PHC-014 | General Practice Clinic | Medical Examination Light | Dragon | DW-LP001 | N/A | 2025-08-01
QDS-PHC-015 | General Practice Clinic | Wall Diagnostic System | Riester | ri-former | N/A | 2025-08-01
QDS-PHC-016 | Medical Laboratory | HbA1c / POC Analyzer | Roche | Cobas b 101 | CQ 60041343 | 2025-08-01
QDS-PHC-017 | Medical Laboratory | Centrifuge | Heraeus | Labofuge 200 | N/A | 2025-08-01
QDS-PHC-018 | Emergency & Observation | Medical Suction Machine | Yuwell | 7-EG | 2018060026 | 2025-08-01
QDS-PHC-019 | Emergency & Observation | Automated External Defibrillator | Zoll | R series ALS | N/A | 2025-08-01
QDS-PHC-020 | Dental Clinic | Curing Light Unit | TPC | LED 70 | L121643 | 2025-08-01
QDS-PHC-021 | Dental Clinic | Amalgamator | TPC | D-650 | N/A | 2025-08-01
VBS-PHC-001 | General Practice Clinic | Vital Signs Monitor | Mindray | VS-900 | FV-6C013981 | 2025-11-01
VBS-PHC-002 | General Practice Clinic | Medical Scale | Health O meter | Professional | N/A | 2025-11-01
VBS-PHC-003 | Medical Laboratory | Autoclave | Aquarius | 300 B | AB009071 | 2025-11-01
VBS-PHC-004 | General Practice Clinic | Medical Scale | Adam | MDW-300 | AE99YE23615 | 2025-11-01
VBS-PHC-005 | General Practice Clinic | Vital Signs Monitor | Mindray | VS-900 | FV-6C013896 | 2025-11-01
VBS-PHC-006 | Medical Laboratory | Blood Glucose Analyzer | Roche | Cobas b101 | Q60041338 | 2025-11-01
VBS-PHC-007 | Dental Clinic | Dental Curing Light | J. Morita | N/A | 23090054 | 2025-11-01
VBS-PHC-008 | Dental Clinic | Dental Amalgamator | ATS | TAC ultraMix | 230923 | 2025-11-01
VBS-PHC-009 | Dental Clinic | Intraoral X-Ray System | Carestream | CS 2100 | EIXU003 | 2025-11-01
VBS-PHC-010 | Dental Clinic | Dental Unit | Sirona | C8+ | 12564 | 2025-11-01
VBS-PHC-011 | Emergency & Observation | Diagnostic X-Ray System | Shimadzu | UD150L-40E | 0462R82720 | 2025-11-01
VBS-PHC-012 | Maternal & Child Health (MCH) | Medical Scale | Health O meter | Professional | N/A | 2025-11-01
VBS-PHC-013 | Maternal & Child Health (MCH) | Infant Scale | Health O meter | 500KL | 33409 | 2025-11-01
VBS-PHC-014 | General Practice Clinic | X-Ray Viewer | Fazzini | N/A | 71402 | 2025-11-01
VBS-PHC-015 | General Practice Clinic | Illuminated Snellen Chart | N/A | N/A | N/A | 2025-11-01
VBS-PHC-016 | General Practice Clinic | Diagnostic Otoscope | Welch Allyn | GS 777 | N/A | 2025-11-01
VBS-PHC-017 | General Practice Clinic | Medical Examination Lamp | Riester | Ri-magic | 3118 | 2025-11-01
MSL-PHC-001 | MCH | Infant Scale | Health o meter | 500KL | N/A | 2026-10-01
MSL-PHC-002 | Emergency | Suction Machine | New Hope | SS-A6 | X20200721598 | 2026-10-01
MSL-PHC-003 | Emergency | Defibrillator | Nihon Kohden | TEC-5631 | 12859 | 2026-10-01
MSL-PHC-004 | General Clinic | Vital Signs Monitor | Philips | SureSigns VS2 | US02005327 | 2026-10-01
MSL-PHC-005 | General Clinic | Vital Signs Monitor | Philips | SureSigns VS2 | US02005318 | 2026-10-01
MSL-PHC-006 | General Clinic | Vital Signs Monitor | Philips | SureSigns VS2 | US02005301 | 2026-10-01
MSL-PHC-009 | Dental Clinic | LED Curing Light | LED Curing | LED.B | 22100365 | 2026-10-01
MSL-PHC-010 | Emergency | ECG Machine | BLT | E65 | E61B0001584 | 2026-10-01
MSL-PHC-011 | Emergency | Sphygmomanometer | Fazzini | N/A | 4.18 | 2026-10-01
MSL-PHC-012 | General Clinic | Examination Lamp | Technomed | emi-EL-Hex | 23-07-470 | 2026-10-01
MSL-PHC-013 | General Clinic | Otoscope | Welch Allyn | GS 777 | N/A | 2026-10-01
MSL-PHC-014 | CSSD | Heat Sealer | hawo | HM 850 DC | 817283 | 2026-10-01
MSL-PHC-015 | CSSD | Water Distiller | megahome | mh943T-sw | 678074 | 2026-10-01
MSL-PHC-016 | CSSD | Autoclave | Stern Weber | 28+ | AS200606 | 2026-10-01
MSL-PHC-017 | Laboratory | CBC Analyzer | Sysmex | XP 300 | A8179 | 2026-10-01
MSL-PHC-018 | Laboratory | HbA1c Analyzer | Abbott | Afinion 2 | N/A | 2026-10-01
MSL-PHC-019 | Laboratory | HbA1c Analyzer | Roche | Cobas b 101 | N/A | 2026-10-01
MSL-PHC-020 | Laboratory | Centrifuge | Hettich | EBA 20 | N/A | 2026-10-01
MSL-PHC-021 | Laboratory | Centrifuge | Hearn | labofuge 200 | N/A | 2026-10-01
MSL-PHC-022 | Laboratory | Laboratory Mixer | Thermoly | Speci-Mix | N/A | 2026-10-01
MSL-PHC-023 | General Clinic | Otoscope | Riester | ri-former | N/A | 2026-10-01
MSL-PHC-024 | MCH | Fetal Doppler | Summit | L450 | L5006356 | 2026-10-01
MSL-PHC-025 | MCH | Adult Scale | Heath o meter | 500KL | N/A | 2026-10-01
MSL-PHC-026 | MCH | Adult Scale | Health o meter | 500KL | N/A | 2026-10-01
MSL-PHC-027 | CSSD | Vital Signs Monitor | Philips | SureSigns VS2 | US02005333 | 2026-10-01
MSL-PHC-028 | Laboratory | Microscope | Micros | Austria / mc400 | 7665 | 2026-10-01
MSL-PHC-029 | Dental Clinic | Dental Chair | Castellini | Puma ELI | N/A | 2026-10-01
MSL-PHC-030 | CSSD | Autoclave | Stern Weber | SW-28 Plus | AS200606 | 2026-10-01
MSL-PHC-031 | Dental Clinic | Dental X-Ray | MyRay | RX DC | 706J014333 | 2026-10-01
MQZ-PHC-001 | General Practice Clinic | Thermometer | Welch Allyn | SureTemp | 19 | 2025-11-01
MQZ-PHC-002 | General Practice Clinic | Vital Signs Monitor | Medtrue.uk | Class 1 | MT9520464 | 2025-11-01
MQZ-PHC-003 | General Practice Clinic | Medical Scale | Health o meter | 500KL | 172360 | 2025-11-01
MQZ-PHC-004 | General Practice Clinic | Medical Scale | Detecto | Solo | N/A | 2025-11-01
MQZ-PHC-005 | General Practice Clinic | Vital Signs Monitor | Medtrue.uk | Class 1 | MT9520314 | 2025-11-01
MQZ-PHC-006 | Maternal & Child Health (MCH) | Infant Scale | Health o meter | 553KL | N/A | 2025-11-01
MQZ-PHC-007 | General Practice Clinic | Thermometer | Welch Allyn | SureTemp | 12233599 | 2025-11-01
MQZ-PHC-008 | Medical Laboratory | Centrifuge | Medtrue.uk | T-550 | 211000B080415 | 2025-11-01
MQZ-PHC-009 | Medical Laboratory | Laboratory Mixer | Medtrue.uk | MT-100 | L740550705 | 2025-11-01
MQZ-PHC-010 | Medical Laboratory | Hematology Analyzer | Sysmex | XP-300 | B1588 | 2025-11-01
MQZ-PHC-011 | General Practice Clinic | Examination Lamp | Riester | ri-magic | N/A | 2025-11-01
MQZ-PHC-012 | General Practice Clinic | Medical Scale | Detecto | Solo | N/A | 2025-11-01
MQZ-PHC-013 | General Practice Clinic | Vital Signs Monitor | Medtrue.uk | Class 2 | N/A | 2025-11-01
MQZ-PHC-014 | General Practice Clinic | Examination Lamp | Riester | ri-magic | N/A | 2025-11-01
MQZ-PHC-015 | Maternal & Child Health (MCH) | Ultrasound | Newtech | Dus | HOFA0221 | 2025-11-01
MQZ-PHC-016 | Maternal & Child Health (MCH) | Vital Signs Monitor | Medtrue.uk | Class 1 | MT9520450 | 2025-11-01
MQZ-PHC-017 | General Practice Clinic | Medical Scale | Detecto | Solo | N/A | 2025-11-01
MQZ-PHC-018 | Sterilization Room | Auto Clave | Medtrue.uk | MET-5 | FENG231L1406066 | 2025-11-01
MQZ-PHC-019 | Emergency Room (ER) | Vital Signs Monitor | Medtrue.uk | Class 1 | MT-9520475 | 2025-11-01
MQZ-PHC-020 | Emergency Room (ER) | X-Ray Film Viewer | FUKUDA | F-904 | N/A | 2025-11-01
MQZ-PHC-021 | General Practice Clinic | Vision Test Chart | Mobiclinic | m240 | N/A | 2025-11-01
MQZ-PHC-022 | General Practice Clinic | Examination Lamp | Riester | ri-magic | N/A | 2025-11-01
MQZ-PHC-023 | General Practice Clinic | Otoscope | Welch Allyn | GS777 | N/A | 2025-11-01
MQZ-PHC-024 | General Practice Clinic | Otoscope | Welch Allyn | GS777 | N/A | 2025-11-01
MNS-PHC-001 | General Practice Clinic | Vital Signs Monitor | HENTLEIGH | COMPACT-300 | 78B00245220 | 2025-11-01
MNS-PHC-002 | Emergency & Observation | Electrocardiograph (ECG) | NIHON KOHDEN | CARDIOFAXC | 102556 | 2025-11-01
MNS-PHC-003 | Emergency & Observation | Suction Machine | K | SU990 | 1223091 | 2025-11-01
MNS-PHC-004 | Emergency & Observation | Defibrillator | ZOLL | AED PLUS | X23C594289 | 2025-11-01
MNS-PHC-005 | General Practice Clinic | Examination Lamp | FAMED | BH132 | 20120703 | 2025-11-01
MNS-PHC-006 | General Practice Clinic | Otoscope | HEINE | EN 200 | 1106091364 | 2025-11-01
MNS-PHC-007 | General Practice Clinic | Examination Lamp | FAMED | BH132 | 20120702 | 2025-11-01
MNS-PHC-008 | General Practice Clinic | Medical Scale | SECA | 22089 | 881302420 | 2025-11-01
MNS-PHC-009 | Maternal & Child Health (MCH) | Infant Scale | MEDTRUE | MT-4943 | 61927195570 | 2025-11-01
MNS-PHC-010 | Medical Laboratory | Hematology Analyzer (CBC) | SYSMEX | XP-300 | B1839 | 2025-11-01
MNS-PHC-011 | General Practice Clinic | Digital Thermometer | WELCH ALLYN | SURE TEMP PLUS | 12422218 | 2025-11-01
MNS-PHC-012 | General Practice Clinic | Vital Signs Monitor | GE | V 100 | SH617180228SA | 2025-11-01
MNS-PHC-013 | General Practice Clinic | Vital Signs Monitor | GE | V 100 | SH617180224SA | 2025-11-01
MNS-PHC-014 | Maternal & Child Health (MCH) | Fetal Doppler | TOITU | FD-390 | 9722J84 | 2025-11-01
MNS-PHC-015 | General Practice Clinic | Medical Scale | ADAM | MDW-200 | N/A | 2025-11-01
MNS-PHC-016 | General Practice Clinic | Medical Scale | ADAM | MDW-200 | N/A | 2025-11-01
MNS-PHC-017 | General Practice Clinic | Medical Scale | ADAM | MDW-200 | N/A | 2025-11-01
MNS-PHC-018 | General Practice Clinic | Examination Lamp | FAMED | BH132 | 20120701 | 2025-11-01
MNS-PHC-019 | CSSD | Autoclave | MEDTRUE.UK | MT 60 | 19928825647 | 2025-11-01
MNS-PHC-020 | Maternal & Child Health (MCH) | Ultrasound Machine | NEWTECH | DUS | C157-00071 | 2025-11-01
MNS-PHC-021 | General Practice Clinic | Digital Thermometer | WELCH ALLYN | SURE TEMP PLUS | 12451017 | 2025-11-01
MNS-PHC-022 | Medical Laboratory | Microscope | NIKON | E 100 | 849725 | 2025-11-01
MNS-PHC-023 | Medical Laboratory | HbA1c Analyzer | ROCHE | COBAS B 101 | Q60041337 | 2025-11-01
MNS-PHC-024 | Maternal & Child Health (MCH) | Infant Scale | HEALTH O METER | 500 KL | N/A | 2025-11-01